BIOL202

Please note that these sheets will be updated for 2004

Lect 13

Sewage treatment : minimising the environmental impact of wastewater disposal

Why be concerned?

Source of Drinking Water?

Disposal of Effluents

Disposal of solids – Sludge Disposal

(association of toxins and sludge)

# The consequences of Waste Disposal in FWs

Rivers

## Lakes

Indicators of State

- Oxygen levels

- Concs of nutrients and toxins

- State of Biodiversity

- Migratory fish

Sources of effluent

- Domestic (mainly via STWs)

- Industry

- Agriculture

- Dispersed Urban Living

  - Roads

  - Stormwater

## Impacts of Effluent Disposal

Organic Wastes

Toxic Wastes

###### Major Improvements since 1960s

Case study – Mersey Estuary

## Impact of Organic Wastes

The laws of physics - quantity

Oxygen

- Oxygen Concentration

- Biochemical Oxygen Demand

‘Organic Wastes’

- Faecal

- Detergents etc

- Substances resistant to Biological Breakdown

    - eg Foam

- Detergents

  - hard vs soft

  - branched vs long chain chain

  - Introduction of Linear Alkyl Benzene Sulphonate (LAS)

## Impact of Toxic Wastes

Ammonia – toxic but also a nutrient

- Influence of temperature, pH and salinity

- Oxidises to Nitrate – non toxic but a nutrient

- Nitrate an agricultural problem

Persistent Pollutants

- Heavy metals

- Persistent Organic Pollutants (POPs)

## Persistent Organic Pollutants (POPs)

- Pesticides (industrial & agricultural sources)

- Industrial Chemicals eg PCBs

- Poly- Aromatic Hydrocarbons (PAHs)

- Pharmaceutical and Personal Care Products (PPCPs)

# Minimising the environmental impact of wastewater disposal

Good management of Sewage Treatment Works

Integrated Pollution Control (IPC) for Industrial Processes

Careful management of Agriculture

Control and Management of Urban Wastewater

## Wastewater Treatment

Primary wastewater treatment removes part of the suspended solids, but no ammonium

Secondary (biological) treatment uses aerobic or anaerobic micro-organisms,

retains 20 % to 30 % of the nutrients and removes around 75 % ammonium;

Tertiary treatment includes phosphorus retention

and in some cases nitrogen removal.

## Endocrine Disruption

‘intersex’ fish – males into females

- first noticed in roach in STW ponds

Hormones

17 β Oestrodiol

Re-activation in STWs

Detergent breakdown products

(London sewage works)

Akyl Phenol Ethoxylates (APEs)

Industrial Rivers

(Wool scouring)

Industrial Sources

Integrated Pollution Prevention and Control (IPPC)

96/61/EC of 24 September 1996

## Dispersed Sources

Still problems with Nitrate from Agriculture

Roads – runoff

### Urban

Urban Wastewater Directive

## The urban waste water treatment directive

- The Urban Waste Water Treatment Directive was adopted by the EU Council of Ministers in May 1991.

- The Directive was passed into domestic UK legislation in November 1994.

- The purpose of the Directive is to protect the environment from the adverse effects of urban wastewater discharges and discharges from certain industrial sectors.

## The urban waste water treatment directive

- It lays down uniform emission standards, or percentage reductions in pollutant concentrations, for discharges from sewage treatment works (STWs) serving a population equivalent (p.e.) of 2,000 or more.